## Page1_1
CATEGORY_COMPANY | ADDED_BY_PROJECT_NUM | ADDED_BY_PROJECT_NAME | PURPOSE | CATEGORY_FERC | DATE_PLACED_IN_SERVICE | ADDITION_AMOUNT
1 | 131N | 2023 BHD Trans Line Rpr <$25K | Project place holder for unplanneded Transmission Projects that do not exceed the $25K limit | 35501 | 2023-12-31 | 77426.71
1 | 131N | 2023 BHD Trans Line Rpr <$25K | Project place holder for unplanneded Transmission Projects that do not exceed the $25K limit | 35601 | 2023-12-31 | 10626.97
1 | 133F | New SVC PriOH '23<$25KSOR | Blanket project for customers requesting primary overhead service in the SOR. | 35601 | 2023-06-30 | 9059.87
1 | 133K | Mnr Rblds-RqrRqst'23<$25KSOR | Blanket project for minor rebuilds - required requests in the SOR | 35501 | 2023-09-30 | 643.16
1 | 133K | Mnr Rblds-RqrRqst'23<$25KSOR | Blanket project for minor rebuilds - required requests in the SOR | 35601 | 2023-09-30 | 5602.52
1 | 133L | Install&Upg St Lighting-SOR'23 | Install and upgrade Emera Maine owned streetlights; including changing to LED streetlights for customers and municipalities. | 35601 | 2023-09-30 | 1833.67
1 | 133M | New SVC Sec.SOR'23 < $25K | Blanket project for new secondary voltage customer connections in the SOR. | 35501 | 2023-09-30 | 3618.37
1 | 133M | New SVC Sec.SOR'23 < $25K | Blanket project for new secondary voltage customer connections in the SOR. | 35601 | 2023-12-31 | 3509.31
1 | 133O | Unpld Pole&URD Work'23<$25KSOR | This blanket project is for various SOR small unplanned capital rebuild, replace and/or improvement projects due to issues which are typically emergency or critical in nature such as vehicular accidents, storm damage, etc. | 35501 | 2023-09-30 | 1585.69
1 | 133O | Unpld Pole&URD Work'23<$25KSOR | This blanket project is for various SOR small unplanned capital rebuild, replace and/or improvement projects due to issues which are typically emergency or critical in nature such as vehicular accidents, storm damage, etc. | 35501 | 2023-12-31 | 2065.33
1 | 133O | Unpld Pole&URD Work'23<$25KSOR | This blanket project is for various SOR small unplanned capital rebuild, replace and/or improvement projects due to issues which are typically emergency or critical in nature such as vehicular accidents, storm damage, etc. | 35501 | 2023-06-30 | 20068.11
1 | 133O | Unpld Pole&URD Work'23<$25KSOR | This blanket project is for various SOR small unplanned capital rebuild, replace and/or improvement projects due to issues which are typically emergency or critical in nature such as vehicular accidents, storm damage, etc. | 35601 | 2023-06-30 | 6444.51
1 | 133O | Unpld Pole&URD Work'23<$25KSOR | This blanket project is for various SOR small unplanned capital rebuild, replace and/or improvement projects due to issues which are typically emergency or critical in nature such as vehicular accidents, storm damage, etc. | 35601 | 2023-12-31 | 6498.8
1 | 133O | Unpld Pole&URD Work'23<$25KSOR | This blanket project is for various SOR small unplanned capital rebuild, replace and/or improvement projects due to issues which are typically emergency or critical in nature such as vehicular accidents, storm damage, etc. | 35601 | 2023-09-30 | 49188.12
1 | 144W | Ells Falls Fence-Stone Impr | The existing fence is not up to standard (height or grounding). There is not enough stone to meet our current EPZ step potential requirements. | 35301 | 2023-12-31 | 327018.75
1 | 145E | S.H. Repl Line 3, Line 4 PT's | Replace blown PT's for Line 3 and Line 4 at Scott's Hill Sub station. | 35301 | 2023-08-31 | 98976.97
1 | 147V | Line 13 & 28 TRPI | Replace 5 crossarms and 13 poles near Hancock substation identified as being in poor condition and at end-of-life via recent visual assessments. | 35501 | 2023-12-31 | 125603.54
1 | 147V | Line 13 & 28 TRPI | Replace 5 crossarms and 13 poles near Hancock substation identified as being in poor condition and at end-of-life via recent visual assessments. | 35601 | 2023-12-31 | 8165.89
1 | 148G | Line 19 Crossarm Rplc Phase 6 | Replace up to 52 deteriorating wood crossarms with fiberglass alternative | 35501 | 2023-07-31 | 43544.99
1 | 148G | Line 19 Crossarm Rplc Phase 6 | Replace up to 52 deteriorating wood crossarms with fiberglass alternative | 35601 | 2023-07-31 | 107318.2
1 | 148J | Line 20 TRPI Ph2 | Replace up to 20 wood poles and 5 wood crossarms in poor condition as determined by latest asset inspection. | 35501 | 2023-09-30 | 226859.56
1 | 148J | Line 20 TRPI Ph2 | Replace up to 20 wood poles and 5 wood crossarms in poor condition as determined by latest asset inspection. | 35601 | 2023-09-30 | 53659.29
1 | 148K | Line 21 TRPI Ph 4 | Replace the remaining orginal Line 21 wood pole K-frame structures (qty 17) with new single wood poles with HLPI due to poor condition. | 35501 | 2023-12-31 | 780581.16
1 | 148K | Line 21 TRPI Ph 4 | Replace the remaining orginal Line 21 wood pole K-frame structures (qty 17) with new single wood poles with HLPI due to poor condition. | 35601 | 2023-12-31 | 292177.03
1 | 148L | Line 22 ROW Rebuild | Rebuild two short line segments located in ROW replacing existing bare conductor with 336AAC SPACER CABLE, to reduce outages caused by tree contact. | 35501 | 2023-10-31 | 159895.25
1 | 148L | Line 22 ROW Rebuild | Rebuild two short line segments located in ROW replacing existing bare conductor with 336AAC SPACER CABLE, to reduce outages caused by tree contact. | 35601 | 2023-10-31 | 144040.66
1 | 148O | Line 246 Steel Pole Assess | Excavate, assess and treat the bases of Line 246 steel poles at and below ground level to improve corrosion resistance and extend the useful life of these transmission poles. | 35501 | 2023-12-31 | 347680.8
1 | 148Z | Line 66 TRPI | Replace a Line 66 H-frame structure because one of its wood poles wasd determined to have insufficient shell thickness due to internal rot. | 35501 | 2023-11-30 | 111587.63
1 | 148Z | Line 66 TRPI | Replace a Line 66 H-frame structure because one of its wood poles wasd determined to have insufficient shell thickness due to internal rot. | 35601 | 2023-11-30 | 31142.42
1 | 154L | Powersville Battery Bank | Replace Powersville Battery Bank and charger. The Powersville Station Battery Bank is over 20 years old. | 35301 | 2023-06-30 | 82112.06
1 | 157F | TR Sub In/Out and Overbuild | This project accounts for the linework associated with both the source side in and the primary distribution out of TR Sub | 35501 | 2023-12-31 | 15237.4
1 | 157F | TR Sub In/Out and Overbuild | This project accounts for the linework associated with both the source side in and the primary distribution out of TR Sub | 35601 | 2023-12-31 | 200658.96
1 | 180R | Line 2 Rebuild Phase 2 | Rebuild the remaining two miles of Line 2 due to excessive internal decay, external decay/damage and NESC conductor to ground clearance violations. | 35501 | 2023-12-31 | 1614642.37
1 | 180R | Line 2 Rebuild Phase 2 | Rebuild the remaining two miles of Line 2 due to excessive internal decay, external decay/damage and NESC conductor to ground clearance violations. | 35601 | 2023-12-31 | 945223.68
1 | 182F | Line 5 ROW Rebuild Phase 2 | Replace up to 50 additional wood pole K-Frame structures due to excessive internal decay, external decay/damage and NESC conductor to ground clearance violations. | 35501 | 2023-12-31 | 1163971.38
1 | 182F | Line 5 ROW Rebuild Phase 2 | Replace up to 50 additional wood pole K-Frame structures due to excessive internal decay, external decay/damage and NESC conductor to ground clearance violations. | 35601 | 2023-12-31 | 234786.22
1 | 182G | Line 59 Static Wire Repair | Repair broken static wires on Line 59 and replace others with new engineered design. | 35601 | 2023-12-31 | 151221.71
1 | 185V | Line 9 TRPI Green Point Rd | Replace multiple aging roadside wood poles at risk of failure discovered during recent asset inspection. | 35501 | 2023-02-28 | 8194.95
1 | 185V | Line 9 TRPI Green Point Rd | Replace multiple aging roadside wood poles at risk of failure discovered during recent asset inspection. | 35601 | 2023-02-28 | 2270.05
1 | 185Y | Line 16 OOS Segments Remv | Remove from service various segments of Line 16 located primarily along the Cates and Old Addison Road that are out-of-service and no longer needed. | 35501 | 2023-02-28 | 7698.11
1 | 191R | Route 3 Traffic Lane BH | Versant to relocate 3 Distibution poles on the AK 3 local and 1 stub pole, for a new proposed traffic lane to Jackson Lab parking facility | 35501 | 2023-10-31 | 623.62
1 | 191X | MDOT CROSS CULVERT | Replace 3, Line 84 poles on Route 157 in Mattawamkeag for MDOT cross culvert replacement | 35501 | 2023-09-30 | 26125.27
1 | 191X | MDOT CROSS CULVERT | Replace 3, Line 84 poles on Route 157 in Mattawamkeag for MDOT cross culvert replacement | 35601 | 2023-09-30 | 9343.3
1 | 196Q | Install Hook Switch on Line 15 | Install new 38KV Horizontal Rocker Switch, Line 15 | 35501 | 2023-06-30 | 20050.08
1 | 196Q | Install Hook Switch on Line 15 | Install new 38KV Horizontal Rocker Switch, Line 15 | 35601 | 2023-06-30 | 5509.47
1 | 199Q | Tibbets Control House Exp | Extend existing Control House - Additional Space needed for Controls and Communications upgrades (Future Fiber). Create Safe Work Clearance for Substation Batteries. | 35301 | 2023-12-31 | 305274.02
1 | 200N | Line 4 Switch 404 Rplc | Needed to remove from service an older style in-line 34.5kV transmission switch and older pole in marginal condition to address repeated thermal integrity issues and reduce the risk of failure | 35501 | 2023-12-31 | 26065.23
1 | 200N | Line 4 Switch 404 Rplc | Needed to remove from service an older style in-line 34.5kV transmission switch and older pole in marginal condition to address repeated thermal integrity issues and reduce the risk of failure | 35601 | 2023-12-31 | 24857.49
1 | 202H | Line 66 Repl for I-395 | Replace existing Line 66 H-frame structures 12 & 13 with taller poles to increase height of conductor above the I-395 connector that will pass underneath. | 35503 | 2023-12-31 | 1925.57
1 | 202H | Line 66 Repl for I-395 | Replace existing Line 66 H-frame structures 12 & 13 with taller poles to increase height of conductor above the I-395 connector that will pass underneath. | 35603 | 2023-12-31 | 443.74
1 | 217P | 16MP1 DRPI- Poles & Var Upgrds | This project is a result of inspection of circuit 16MP1, inspected as part of the Company's distribution overhead and ground line inspection program. | 35501 | 2023-10-31 | 592.85
1 | 217P | 16MP1 DRPI- Poles & Var Upgrds | This project is a result of inspection of circuit 16MP1, inspected as part of the Company's distribution overhead and ground line inspection program. | 35601 | 2023-10-31 | 18935.64
1 | 222U | MAKE READY 1BRWER226875 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35501 | 2023-11-30 | -2586.15
1 | 222U | MAKE READY 1BRWER226875 | Replace Line 8 pole, ,pulling slack in primary, & secondary in various locations. | 35601 | 2023-11-30 | -514.64
1 | 229B | Line 80 TRPI 3 | Replace 10 poles in poor condition, add pole bands at top of 6 poles with splitting /cracking and realign Hendrix spacer cable bracket. | 35501 | 2023-12-31 | 62081.67
1 | 232I | MAKE READY - 1GREENB231397 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35501 | 2023-12-31 | -6501.1
1 | 232I | MAKE READY - 1GREENB231397 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35601 | 2023-12-31 | -6352.46
1 | 232O | MAKE READY - 1GREENB231409 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35601 | 2023-11-30 | 363.71
1 | 325E | Nicolin- M/O sw at 107 & 108 | Provide SCADA controlled M/O's at 107 and 108 at Nicolin. This is needed to allow sectionalizing of all portions of Line 1. We often lose Nicolin for issues between 108 and 1001. | 35301 | 2023-07-31 | 161644.89
1 | 325E | Nicolin- M/O sw at 107 & 108 | Provide SCADA controlled M/O's at 107 and 108 at Nicolin. This is needed to allow sectionalizing of all portions of Line 1. We often lose Nicolin for issues between 108 and 1001. | 35302 | 2023-07-31 | 9751.18
1 | 341E | Line 50 Smart Fault Detection | Install smart fault detectors on Line 50 for better precise fault location. | 35302 | 2023-04-30 | 69701.07
1 | 341E | Line 50 Smart Fault Detection | Install smart fault detectors on Line 50 for better precise fault location. | 35501 | 2023-04-30 | 5880.05
1 | 341E | Line 50 Smart Fault Detection | Install smart fault detectors on Line 50 for better precise fault location. | 35601 | 2023-04-30 | 27606.69
1 | 349E | Powersville RTU Upgrade | This project will be replace the obsolete RTU at Powersville substation with new RTU. | 35302 | 2023-03-31 | 27268.37
1 | 455B | OVERHEAD RECALC TRUE-UP | Overhead True Up | 35501 | 2023-12-31 | 586159.14
1 | 488E | Line 20 ROW to Road (Whiting) | Move various aging and short segments of Line 20 totaling more than 1.5 miles in length out of narrow rights of way with poor access to nearby US Route 1. | 35501 | 2023-02-28 | 301781.58
1 | 488E | Line 20 ROW to Road (Whiting) | Move various aging and short segments of Line 20 totaling more than 1.5 miles in length out of narrow rights of way with poor access to nearby US Route 1. | 35601 | 2023-02-28 | 378108.38
1 | 492E | Line 2 TRPI | Rebuild 2 miles of Line 2 located in ROW due to excessive internal decay, external decay/damage and NESC conductor to ground clearance violations. | 35501 | 2023-12-31 | 1412791.42
1 | 492E | Line 2 TRPI | Rebuild 2 miles of Line 2 located in ROW due to excessive internal decay, external decay/damage and NESC conductor to ground clearance violations. | 35601 | 2023-12-31 | 169188.69
1 | 495E | Line 5 TRPI | Replace up to 40 wood pole K-frame structures and other assemblies at risk of failure and to raise its attached conductors to address NESC conductor to ground clearance deficiencies | 35501 | 2023-01-31 | 642114.35
1 | 495E | Line 5 TRPI | Replace up to 40 wood pole K-frame structures and other assemblies at risk of failure and to raise its attached conductors to address NESC conductor to ground clearance deficiencies | 35601 | 2023-01-31 | 748574.5
1 | 498E | Line 10 Rebuild (EF to GR) | Rebuild the 3.15 mile long section of Line 10 between Ellsworth Falls Substation and Grant Street Substation as a result of many wood pole assests in poor condition and at end-of-life. | 35002 | 2023-12-31 | 78746.09
1 | 498E | Line 10 Rebuild (EF to GR) | Rebuild the 3.15 mile long section of Line 10 between Ellsworth Falls Substation and Grant Street Substation as a result of many wood pole assests in poor condition and at end-of-life. | 35501 | 2023-12-31 | 826264.76
1 | 498E | Line 10 Rebuild (EF to GR) | Rebuild the 3.15 mile long section of Line 10 between Ellsworth Falls Substation and Grant Street Substation as a result of many wood pole assests in poor condition and at end-of-life. | 35601 | 2023-12-31 | 572748.94
1 | 498E | Line 10 Rebuild (EF to GR) | Rebuild the 3.15 mile long section of Line 10 between Ellsworth Falls Substation and Grant Street Substation as a result of many wood pole assests in poor condition and at end-of-life. | 35901 | 2023-12-31 | 1272956.03
1 | 528E | Machias Sub Decomm | Decommissioning of the Machias substation. MA3 Relocation by Contractor including new MA3 Recloser installation. | 35501 | 2023-06-30 | 15518.09
1 | 528E | Machias Sub Decomm | Decommissioning of the Machias substation. MA3 Relocation by Contractor including new MA3 Recloser installation. | 35601 | 2023-06-30 | 34445.17
1 | 535E | Medway Sub Breaker Replc | Replace high side breaker at Medway substation due to low health index score and increasing age | 35301 | 2023-03-31 | 110775.22
1 | 631A | UMO Transformer | This project is necessary to create adequate contingency for the University of Maine’s load served from its 46kV Substation for the possibility of transformer failure and for required maintenance. | 35301 | 2023-07-31 | 17260.92
1 | 662E | AXIOM M/R APP CHML202102-02 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35501 | 2023-08-31 | 43136.81
1 | 662E | AXIOM M/R APP CHML202102-02 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35601 | 2023-08-31 | 1448.28
1 | 669D | Ellsworth Falls T3 Rplc | Replace EF T3 with a new transformer with a max 28MVA @ 65 deg C. The existing transformer will be 72 Years old in 2022 | 35301 | 2023-09-30 | 1200639.41
1 | 712E | Line 12 TRPI | Rebuild the Line 12 segment from Ellsworth Falls to Grant Street due to poor condition poles at end of life. | 35501 | 2023-12-31 | 1831331.17
1 | 712E | Line 12 TRPI | Rebuild the Line 12 segment from Ellsworth Falls to Grant Street due to poor condition poles at end of life. | 35601 | 2023-12-31 | 1565376.72
1 | 724E | PREMIUM BB M/R 724E | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35501 | 2023-05-31 | 4351.34
1 | 733E | ScottHillSubstion MbleSiteImpr | Need a new mobile site for Scott's Hill Substation. Mobile Site does not meet Requirements. | 35301 | 2023-07-31 | 3405.26
1 | 733E | ScottHillSubstion MbleSiteImpr | Need a new mobile site for Scott's Hill Substation. Mobile Site does not meet Requirements. | 35503 | 2023-07-31 | 1208.59
1 | 733E | ScottHillSubstion MbleSiteImpr | Need a new mobile site for Scott's Hill Substation. Mobile Site does not meet Requirements. | 35601 | 2023-07-31 | 5944.87
1 | 740E | Make Ready Request 5 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35501 | 2023-12-31 | 48163.89
1 | 740E | Make Ready Request 5 | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35601 | 2023-12-31 | 13306.27
1 | 765E | Town of Roque Bluffs MR | Upgrades to the system due to requests by Cable, TV, and Fiber attachers | 35301 | 2023-08-31 | 22185.52
1 | 780D | I395 Cntr Transmission Rplc | Replace transmission structures on line 396, 390 and 66 to allow for new highway. 2023 work is to replace two structures on Line 66. | 35501 | 2023-12-31 | 633412.8
1 | 780D | I395 Cntr Transmission Rplc | Replace transmission structures on line 396, 390 and 66 to allow for new highway. 2023 work is to replace two structures on Line 66. | 35503 | 2023-12-31 | 147100.32
1 | 780D | I395 Cntr Transmission Rplc | Replace transmission structures on line 396, 390 and 66 to allow for new highway. 2023 work is to replace two structures on Line 66. | 35601 | 2023-12-31 | 9162.72
1 | 819E | Repl 46T Relay | Replace primary and backup relaying on Graham 46T breaker. Replace REL Relay with new 311L and 421. We are phasing out old REL's as they are no longer available or reliable. | 35301 | 2023-12-31 | 64979
1 | 838E | MDI Loop - L48 | Install equipment and relaying needed for L48 needed to eventually close the second transmission loop on MDI | 35301 | 2023-12-31 | 130890.35
1 | 881A | Winding temp gauge E. Falls T1 | New winding temp gauge E. Falls T1. Over temp trip contact is currently disabled on this transformer. New gauge and contacts will restore this protection. | 35301 | 2023-08-31 | 7691.02
1 | 882D | KR115 Station Service | Currently there is no station service for the control house at KR115 that is fed from the substation. It is only currently fed from the Chester Local. | 35301 | 2023-04-30 | 156001.07
1 | 917E | Bagley Mtn RTU Upgrade | Replace RTU at Bagley Mtn. The current RTU is obsolete and no longer supported by the vendor | 35302 | 2023-08-31 | 4767.68
1 | 932E | Cooper RTU Replacement | Replace Cooper RTU equipment. Existing RTU is obsolete and no longer supported by the vendor | 35302 | 2023-10-31 | 10799.88
1 | 933E | Potter Hill RTU Upgrade | Replace RTU at Potter Hill. The existing rtu is obsolete and no longer supported by the vendor | 35302 | 2023-08-31 | 3679.62
1 | 997E | Line 74 TRPI Ph2 | Rebuild another 3+ mile section of Line 74 due to excessive wood pole and wood crossarm decay. | 35002 | 2023-12-31 | 436205.34
1 | 997E | Line 74 TRPI Ph2 | Rebuild another 3+ mile section of Line 74 due to excessive wood pole and wood crossarm decay. | 35501 | 2023-12-31 | 768552.36
1 | 997E | Line 74 TRPI Ph2 | Rebuild another 3+ mile section of Line 74 due to excessive wood pole and wood crossarm decay. | 35601 | 2023-12-31 | 1169618.79
1 | D034 | CLOSE OUT DEC 2022 STORM | December 2022 Storm | 35501 | 2023-12-31 | 11110.85
1 | D034 | CLOSE OUT DEC 2022 STORM | December 2022 Storm | 35601 | 2023-12-31 | 14381.94
23746814.88